Water testing procedures

Turbidity Test

1. Remove hose from upper tap (tag A ) and attach to lower tap. (tag B )
2. Make sure other end of hose is in the drain (after removing drain cap)
3. Run water down drain from lower tap B for 5 minutes

4. Check turbidity meter reading and record in log book. *ranges of meter?
Note: during filtering operation the turbidity reading spikes initially. It may also spike if the backwash is running. Do not record if the reading is above 1.0 and the filtration light is not on, because the reading will be higher. It is not a problem except for step 5 below. Recheck the reading in 3 minutes.
5. If the turbidity reading is above 1.0 and the filtration light has been on for several minutes, call Rosaire. Home phone: 613-679-4571.

6. Turn off the lower tap ( B ), remove the hose and reconnect it to upper tap ( A ).

Chlorine Test

7. Remove the hose from the drain and hang it on the rack.

8. Fill the bucket half full from the lower tap ( B ).

9. Open chlorine test kit, turn on the calorimeter. Remove the two empty vials.

10. Follow instructions in kit manual, pp. 46-7, for procedure. * attach copy of page?
11. Fill the vials to the marked line with water from the lower tap ( B ).

12. Dry and close the first vial and insert it in the calorimeter: line up marking*? with arrow.
*(Then what?  Is there a reading or result to set a standard?)

13. Add a ‘Chlorine free DPDF10* powder packet to the second vial. The water should turn pink. 
If it does not, discard it, rinse the vial, refill it and use another test packet.
14. Refill the vial as per step 12, shake it for 20 seconds, realign it and repeat the test.

15. Record the test reading in the log for this date.*what ranges? If not in range?
16. Empty, rinse and dry the vials, and replace them in the kit.

17. Turn off the calorimeter and close the kit.

18. Empty the bucket into the drain and replace the drain cap.

Bypass Line Operation (Winter only)
In temperatures below  -5 degrees centigrade* check position of the by-pass valve (BV). Set it to ‘open’ from 8 p.m. to 8 a.m. Close the valve during the day.
