Weekend check list for Lodge, garbage and grounds for summer weekends
DATE:____________              

THURSDAY AFTERNOON

Lodge:

· Check schedule for number of guests. If more than 4, open 2nd hot water.
· Have 3 large water canisters on hand; nearly full canister in kitchen holder

· Check running water and toilets in each bedroom and in kitchen

· Check barbecue; have 1 full propane canister in reserve, with tag

· Remove any garbage and Blue Box items in kitchen or Great Hall

· Note any problems to Mary or a Board member for correction

· Other:
Pool:

· Check propane level in main tank for sufficient amount for weekend

· Set temperature to _80*_   degrees.  (Bruce to check and confirm this)
· Cover pool at 5 p.m. Mon to Thurs.  Owners put on cover after that.

· Check that pool scrubber and heater are functioning well
Grounds:

· Prepare for Friday lawn mowing, trimming and watering.                            (If you require help to handle weekend maintenance, confirm with manager)
· Other

FRIDAY AFTERNOON
· Empty grounds and main garbage bins; reset for weekend
· Set water treatment and pool chemical amounts for four days of heavy use.

· Check pool for temperature, scrubber operation and chemical standards

· Other

